## Summary
iTransformer+NHiTS Probabilistic Forecasting
Project | Probabilistic wind speed / wind power forecasting
Model | iTransformer backbone + Per-Variate Projection + QuantileProjectionHead
Quantiles | P10, P50, P90, P99 (VayuMithra); 99 quantiles 0.01..0.99 (GEFCom)
Loss Function | Pinball Loss (Quantile Loss) with monotonicity enforcement
Datasets | VayuMithra (10-station uv, 2013-2022) & GEFCom2014-W (10-zone, 2012-2013)
For VayuMithra: predicting wind speed at station s5 from 50 variates.
For GECCom2014: predicting normalized wind power (0-1) for 10 zones from 50 features.
Training Config | d_model=128, e_layers=2, n_heads=4, d_ff=512, dropout=0.15, lr=3e-4
Walk-forward CV | VayuMithra: 4 temporal folds (2019/2020/2021/2022). GEFCom: single split.
Key Finding 1 | H1 wind speed coverage well-calibrated (0.822 vs target 0.80)
Key Finding 2 | P50 MAE degrades with horizon: 0.23 (H1) → 1.74 (H24)
Key Finding 3 | GEFCom benchmark outperforms pure time-series model (needs exp vars)
Files
Model | vayumithra_research/src/models/probabilistic_model.py
Training Script | vayumithra_research/scripts/train_probabilistic.py
Evaluation Script | vayumithra_research/scripts/evaluate_probabilistic.py
GEFCom Pipeline | scripts/gefecom/run_gefecom.py
Checkpoints | vayumithra_research/results/models/probabilistic/*.pt
Benchmark pinball avg (tasks 1-12) | 0.086706
kPower pinball avg (tasks 1-12) | 0.037111
kPower rating (leaderboard) | 0.56612
Our Task 15 pinball avg | 0.17825
Benchmark Task 15 pinball avg | 0.079196
Our ratio to Task 15 benchmark | 2.25x
kPower ratio to benchmark | 0.43x
Leaderboard sheet available | Leaderboard_Comparison

## VayuMithra
VayuMithra 10-Station Probabilistic Forecasting Results
Fold 1 — Test period 2020 (station s5 wind speed)
Horizon | P50 MAE | P50 RMSE | Coverage P10-P90 | Width (m/s) | Winkler | Pinball P10 | Pinball P50 | Pinball P90 | Pinball Avg
1 | 0.2298 | 0.3098 | 0.8219 | 0.8 | 1.1417 | 0.029 | 0.1149 | 0.0348 | 0.0597
2 | 0.4478 | 0.5883 | 0.739 | 1.27 | 2.1129 | 0.0574 | 0.2239 | 0.0585 | 0.1136
3 | 0.6579 | 0.859 | 0.6743 | 1.63 | 3.226 | 0.0896 | 0.329 | 0.0809 | 0.1719
4 | 1.0189 | 1.329 | 0.7049 | 2.7 | 4.8508 | 0.1333 | 0.5095 | 0.1234 | 0.2595
5 | 1.2053 | 1.5736 | 0.7453 | 3.57 | 5.8152 | 0.157 | 0.6027 | 0.1669 | 0.3106
6 | 1.1953 | 1.5563 | 0.7037 | 3.13 | 5.6585 | 0.1461 | 0.5977 | 0.1531 | 0.3029
12 | 1.5532 | 2.042 | 0.6616 | 3.69 | 7.6331 | 0.2001 | 0.7766 | 0.2093 | 0.4034
24 | 1.7371 | 2.2893 | 0.7224 | 4.78 | 8.3408 | 0.2113 | 0.8686 | 0.236 | 0.4458
Deterministic iTransformer+NHiTS comparison (H1): P50 MAE target ≈ 0.12 m/s
Model underperforms deterministic by ~2x due to harder pinball optimization

## GEFCom2014
GEFCom2014-W Task 15 — Probabilistic Forecasting Results
Model trained on 2012 data, tested on Dec 2013 (10 zones x 744 hours)
Zone | Samples | Model Pinball Avg | Benchmark Pinball Avg | Model P50 MAE | Benchmark P50 MAE
1 | 737 | 0.2431 | 0.0711 | 0.5532 | 0.2034
2 | 736 | 0.1099 | 0.0643 | 0.2545 | 0.1876
3 | 738 | 0.1216 | 0.0779 | 0.2789 | 0.2241
4 | 738 | 0.1315 | 0.0881 | 0.3012 | 0.2557
5 | 738 | 0.1489 | 0.0947 | 0.3412 | 0.2712
6 | 738 | 0.1426 | 0.0955 | 0.3267 | 0.2734
7 | 738 | 0.2424 | 0.069 | 0.5621 | 0.1987
8 | 738 | 0.2506 | 0.0701 | 0.5789 | 0.2012
9 | 738 | 0.1879 | 0.0684 | 0.431 | 0.1989
10 | 738 | 0.2038 | 0.0928 | 0.4701 | 0.2667
OVERALL | 7377 | 0.1782 | 0.0792 | 0.4089 | 0.2301
Benchmark = GEFCom2014 persistence model (uses explanatory variables)
Pure time-series model (no exp vars) underperforms benchmark by 125% on avg pinball
Incorporating exp vars as input features would likely close the gap

## Architecture
Model Architecture
Component | Details
1. Input | x: (batch, seq_len, enc_in) — time series of L steps, N variates
VayuMithra: L=336, N=51 (10 stations x 5 features + ws_s5)
GEFCom2014: L=336, N=50 (10 zones x 5 features: TARGETVAR, U10, V10, U100, V100)
2. Instance Normalization | Non-stationary Transformer style:
means = x.mean(1); stdev = sqrt(var(x,1) + 1e-5)
x = (x - means) / stdev — per-channel, per-window
3. DataEmbedding_inverted | (batch, L, N) → permute → (batch, N, L) → Linear(L, d_model) → (batch, N, D)
Converts each variate's L-length sequence into a D-dimensional token.
4. iTransformer Encoder | Stack of E=2 EncoderLayers, each with:
a) FullAttention (no causal mask) — (N+time_tokens) x (N+time_tokens)
Queries, keys, values from LayerNorm((N, D))
b) Feed-Forward: Linear(D, d_ff) → GELU → Linear(d_ff, D)
Output: (batch, N, D) — each variate attended to all other variates
5. Per-Variate Projection | Linear(D, 1): (batch, N, D) → (batch, N, 1) → squeeze → (batch, N)
Reduces each variate token to a single scalar 'score' for the target.
For multi-target (GEFCom): select TARGETVAR channels → (batch, N_zones)
6a. QuantileProjectionHead | Linear(N, S * nq): (batch, N) → (batch, S * nq) → view → (batch, S, nq)
(single target) | Outputs n_quantiles (4 or 99) per horizon step.
6b. Per-Target Projection | Linear(1, S * nq): (batch, N_zones, 1) → (batch, N_zones, S * nq)
(multi-target) | → view → (batch, N_zones, S, nq)
Shares the same projection across all target variates.
7. Monotonicity | Cumulative softplus to enforce P10 ≤ P50 ≤ P90 ≤ P99 (or P1 ≤ ... ≤ P99):
base = preds[..., :1]; deltas = softplus(preds[..., 1:] - preds[..., :-1])
preds_ordered = cumsum(concat([base, deltas]), dim=-1)
8. De-normalization | quantiles = quantiles * stdev_target + means_target
Transforms quantiles back to original units.
Hyperparameters
d_model | 128
n_heads | 4
e_layers | 2
d_ff | 512
dropout | 0.15
activation | GELU
lr | 3e-4 (AdamW)
weight_decay | 1e-3
batch_size | 128 (VayuMithra) / 64 (GEFCom)
scheduler | CosineAnnealingLR(T_max=30..50)
total params | ~440K

## Loss_Functions
Loss Functions & Evaluation Metrics
Metric | Definition
1. Pinball Loss | Primary training loss for quantile regression.
(Quantile Loss)
L_q(y, y_hat) = max(q * (y - y_hat), (q-1) * (y - y_hat))
= q * (y - y_hat) if y >= y_hat, else (q-1) * (y - y_hat)
where q ∈ (0,1) is the quantile level, y is the true value,
and y_hat is the predicted quantile.
Properties:
- Asymmetric: penalizes over/under-prediction differently
- Proper scoring rule: minimized when y_hat = true q-quantile
- L_0.5 = 0.5 * ¦y - y_hat¦ = half of MAE
2. Multi-Quantile Pinball | Average pinball across all quantile levels:
Loss = (1/K) * SUM_k L_{q_k}(y, y_hat_k)
where K = number of quantiles (4 for VayuMithra, 99 for GEFCom).
3. Quantile Monotonicity | Cumulative softplus ensures P10 ≤ P50 ≤ P90 ≤ P99:
Let r_1, r_2, ..., r_K be raw outputs from the projection head.
y_1 = r_1
y_k = y_{k-1} + softplus(r_k - y_{k-1}) for k = 2..K
This guarantees y_1 ≤ y_2 ≤ ... ≤ y_K without constraints.
4. Interval Coverage | Fraction of true values falling inside the prediction interval:
Coverage = (1/N) * SUM_i 1{lo_i ≤ y_i ≤ hi_i}
Target: ~80% for P10-P90 interval (i.e., q=0.1 to q=0.9).
5. Interval Width | Mean width of the prediction interval:
Width = (1/N) * SUM_i (hi_i - lo_i)
Measured in original units (m/s for wind speed, fraction for power).
6. Winkler Score | Combines width + penalties for misses (sharpness + calibration):
Winkler = (1/N) * SUM_i [ (hi_i - lo_i)
+ (2/alpha) * max(lo_i - y_i, 0)
+ (2/alpha) * max(y_i - hi_i, 0) ]
where alpha = 0.20 for P10-P90 interval.
Lower is better. Punishes both wide intervals and missed targets.
7. MAE (P50) | Mean Absolute Error of the median (P50) prediction:
MAE = (1/N) * SUM_i ¦y_i - y_hat_i_P50¦
8. RMSE (P50) | Root Mean Squared Error of the median:
RMSE = sqrt((1/N) * SUM_i (y_i - y_hat_i_P50)^2)

## Leaderboard_Comparison
GEFCom2014-W COMPETITION DATA (Tasks 1-12)
Task | Task 1 | Task 2 | Task 3 | Task 4 | Task 5 | Task 6 | Task 7 | Task 8 | Task 9 | Task 10 | Task 11 | Task 12 | Avg
Benchmark (Organizer) | 0.07536 | 0.07389 | 0.08195 | 0.07897 | 0.08425 | 0.07694 | 0.09949 | 0.11871 | 0.09958 | 0.09583 | 0.07614 | 0.07936 | 0.086706
kPower (1st Place) | 0.03562 |  | 0.03888 | 0.03069 | 0.03889 | 0.0319 | 0.03635 | 0.0371 | 0.03879 | 0.04168 | 0.03917 | 0.03915 | 0.037111
dmlab (2nd Place) | 0.03731 | 0.04121 | 0.04093 | 0.03151 | 0.0396 | 0.03333 | 0.03802 | 0.03902 | 0.03942 | 0.04181 | 0.03942 | 0.03855 | 0.038344
E.S. Mangalova (3rd Place) | 0.03721 | 0.04124 | 0.04064 | 0.03196 | 0.04006 | 0.03237 | 0.03761 | 0.03761 | 0.03945 | 0.04177 | 0.04024 | 0.03956 | 0.03831
C3 Green Team | 0.03941 |  | 0.03921 | 0.03199 | 0.03903 | 0.03302 | 0.03797 | 0.03747 | 0.04071 | 0.04235 | 0.0401 | 0.03975 | 0.038274
Yao Zhang | 0.03792 | 0.0408 | 0.04014 | 0.03273 | 0.04018 | 0.0335 | 0.03824 | 0.03829 | 0.04014 | 0.0436 | 0.04176 | 0.04037 | 0.038973
UTES | 0.04797 | 0.04306 | 0.04853 | 0.03567 | 0.0412 | 0.03585 | 0.03848 |  | 0.04106 | 0.04461 | 0.04029 | 0.03976 | 0.041498
Onverrabien | 0.04104 | 0.0426 | 0.04118 | 0.03258 | 0.04045 | 0.03232 | 0.03799 | 0.03902 | 0.04157 | 0.04295 | 0.04073 | 0.04111 | 0.039462
pat1 | 0.03943 | 0.04408 | 0.04305 | 0.0394 | 0.04653 | 0.03783 | 0.04318 | 0.04501 | 0.04847 | 0.04923 | 0.05718 | 0.04348 | 0.044739
Final Competition Ratings (higher = better)
Rank | Task 1: Team; Task 2: Rating; Task 3: vs Benchmark
1 | Task 1: kPower; Task 2: 0.56612; Task 3: 56.6% improvement over baseline
2 | Task 1: dmlab; Task 2: 0.55886; Task 3: 55.9% improvement over baseline
3 | Task 1: E.S. Mangalova; Task 2: 0.55745; Task 3: 55.7% improvement over baseline
4 | Task 1: C3 Green Team; Task 2: 0.55468; Task 3: 55.5% improvement over baseline
5 | Task 1: Yao Zhang; Task 2: 0.54721; Task 3: 54.7% improvement over baseline
6 | Task 1: Onverrabien; Task 2: 0.54592; Task 3: 54.6% improvement over baseline
7 | Task 1: UTES; Task 2: 0.50722; Task 3: 50.7% improvement over baseline
8 | Task 1: pat1; Task 2: 0.46892; Task 3: 46.9% improvement over baseline
9 | Task 1: Jiali Liu; Task 2: 0.4583; Task 3: 45.8% improvement over baseline
10 | Task 1: Jérôme Collet; Task 2: 0.44185; Task 3: 44.2% improvement over baseline
11 | Task 1: Manuel Oviedo de la Fuente; Task 2: 0.26629; Task 3: 26.6% improvement over baseline
12 | Task 1: RDS; Task 2: 0.21295; Task 3: 21.3% improvement over baseline
Our Model (iTransformer) vs Benchmark on Task 15
Quantile | Task 1: Our Pinball; Task 2: Benchmark Pinball; Task 3: Ratio (M/B); Task 4: kPower Equivalent
P1 (q=0.01) | Task 1: 0.003155; Task 2: 0.003155; Task 3: 1.00x; Task 4: 0.001357
P10 (q=0.10) | Task 1: 0.18027; Task 2: 0.031286; Task 3: 5.76x; Task 4: 0.013453
P25 (q=0.25) | Task 1: 0.2259; Task 2: 0.072581; Task 3: 3.11x; Task 4: 0.03121
P50 (q=0.50) | Task 1: 0.20443; Task 2: 0.11503; Task 3: 1.78x; Task 4: 0.049461
P75 (q=0.75) | Task 1: 0.17043; Task 2: 0.10615; Task 3: 1.61x; Task 4: 0.045646
P90 (q=0.90) | Task 1: 0.14479; Task 2: 0.055671; Task 3: 2.60x; Task 4: 0.023939
P99 (q=0.99) | Task 1: 0.091338; Task 2: 0.006607; Task 3: 13.83x; Task 4: 0.002841
AVERAGE | Task 1: 0.17825; Task 2: 0.079196; Task 3: 2.25x; Task 4: 0.034054
Summary: Where We Stand
Metric | Task 1: Benchmark; Task 2: kPower (1st); Task 3: Our Model; Task 4: Gap
Avg Pinball (Tasks 1-12) | Task 1: 0.0867; Task 2: 0.0371; Task 3: N/A (Task 15 only)
Avg Pinball (Task 15) | Task 1: 0.0792; Task 2: N/A (not public); Task 3: 0.1782; Task 4: 2.25x bench
P50 MAE (Task 15) | Task 1: 0.2301; Task 2: N/A; Task 3: 0.4089; Task 4: 1.78x bench
Rating (leaderboard) | Task 1: 0 (baseline); Task 2: 0.56612; Task 3: N/A (not on leaderboard)
Root Cause for Gap | Task 3: No explanatory variables (future U10/V10/U100/V100)